## Checklist
City of Santa Cruz
Non-Residential Green Building Checklist
ADDITION AND TENANT IMPROVEMENT PROJECTS ≥ 1000 SF OR $200,000
INSTRUCTIONS
The Checklist below lists all green building measures and determines the required points for your project. In addition, it allows you to select specific measures for your project and to calculate the total points for your selected measures. FOR LEGIBILITY, A COMPLETED CHECKLIST MUST BE INCORPORATED ON ITS OWN, SEPARATE PLAN SHEET PAGE
| 1. | Enter your project information and the project square footage in the fields indicated.
| 2. | Review the points required to achieve each Action Level* REVIEW GUIDELINES AT: http://www.cityofsantacruz.com/home/showdocument?id=35643
| 3. | Note the mandatory measures highlighted in yellow and located at the top of each measure category. These measures are required in all projects and do not have a point value.
| 4. | Select the measures for your project by entering point values in the "Achieved Points" column. Points entered should not exceed the indicated maximum points for each measure. Be sure to review your total points as you select your measures and note progress towards your planned Action Level ("Points Remaining").
| 5. | Once selected to meet the point requirements for your planned Action Level, enter the page(s) of your building plans on which the measures, both Mandatory and Voluntary, are called out/reflected in the column provided. Include corresponding notes, specifications, or instructions to facilitate the plan review and inspection process.
| 6. | When your checklist is complete, click on the "Summarize Selected Measures" button to show only those measures which you have selected. This will facilitate integrating your measures into an Index of Selected Measures on your building plans. To see all of the measures again, click the "Show All Measures" button. Note that you will need to enable Microsoft Excel macros (sets of automated steps triggered, in this case, by clicking a button) in order to utilize this functionality. This option is typically provided in a security warning below the Excel menu bar. If you choose not to enable the macro, you may still filter your measures using Excel's filtering options found in the Data menu.
Project Address
Assessor's Parcel # (APN)
Permit #
Project Description
Owner
Designer
Contractor
Total Square Feet
| Action Level |  |  | Points Required | Points Remaining
|  |  | Permit Issuance | 5 | 5
|  |  | Prioritized Permit Processing | 29 | 29
|  |  | Green Building Award Certificate | 35 | 35
|  |  | Green Building Plaque for Exceptional Design | 42 | 42
[7 empty] | Maximum Available Points = | 73 | 0 | = Total Achieved Points
|  | Measures highlighted yellow are mandatory for Additions ≥ 1000 SF or Alterations ≥ $200,000. | [6 empty] | .
|  | Measures with a star («) are part of the Design Checklist for Planning Stage, to be considered as early as feasible in the design and planning process. See Guidelines for more information. All code references are CALGreen unless otherwise noted. Exceeding the minimum point requirements by 15-20% is recommended to allow for project modifications. | [5 empty] | Maximum Points | Achieved Points | Plan Pages (e.g., A-1, C-3) | Notes
A. | Sustainable Sites | [6 empty] | . | .
« | M1a. | Construction Activity Pollution Prevention: Prepare SWPP if TI disturbs ≥ 1 acre of land | [5 empty] | M | -
« | M1b. | Stormwater Management: Locate BMPs on site map per CALGreen 5.106.1.2 if TI disturbs < 1 acre of land | [5 empty] | M | -
« | M2. | Bicycle Parking (5%): Required if ≥ 10 visitor parking spaces added OR generates visitor traffic 5.106.4.1.1 | [5 empty] | M | -
« | M3. | Clean Air Vehicle Spaces (8%): Required if TI adds ≥ 10 vehicular parking spaces CALGreen Table 5.106.5.2 | [5 empty] | M | -
« | M4. | Bicycle Storage (5%): Required if ≥ 10 tenant parking spaces added per CALGreen 5.106.4.1.2 | [5 empty] | M | -
« | 5. | Stormwater Management: Incorporate One LID: Sidewalk Swale; Rooftop Garden; Roof Leader Disconnect | [5 empty] | 1
« | 6a. | Alternative Transportation: Public Transportation Access- perform survey, analyze & reduce auto impacts | [5 empty] | 1
« | 6b. | Alternative Transportation: Add 1 complete EV Charging Station (voluntary) and satisfy CALGreen 5.106.5.3 | [5 empty] | 1
« | 6c. | Alternative Transportation: Alternative Fueling Supply | [5 empty] | 1
« | 7. | Grading & Paving: Improve Surface Water Control to Prevent Entry at Building Perimeter per 5.106.10 | [5 empty] | 1
« | 8. | Light Pollution Reduction: Meet requirements for CALGreen [N] 5.106.8 | [5 empty] | 1
« | 9a. | Heat Island Effect: Non-Roof: Replace constructed surfaces with vegetation or other high-albedo surface | [5 empty] | 1
« | 9b. | Heat Island Effect: Roof addition exceed CEnC 140.3(a)1A by 10% or replacement > 2K SF, 141.0(b)2B by 10% | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 8 | 0
B. | Water Efficiency | [6 empty] | . | .
| M1a. | Install Separate Meters: For additions >50,000 SF, each tenant space consuming >100 gal/day 5.303.1.1 | [5 empty] | M | -
| M1b. | Install Separate Meters: For ALL additions, each tenant consuming >1,000 gal/day 5.303.1.2 | [5 empty] | M | -
| M2. | Plumbing Fixtures & Fittings: New fixtures must comply w/ 5.303.3 + Civil Code 1101.1-8 | [5 empty] | M | -
| M3. | Meet City of Santa Cruz Water Efficient Landscaping Ordinance satisfying CALGreen 5.304.2(1) | [5 empty] | M | -
| M4. | Plumbing Fixtures installed in accordance with California Plumbing Code: Demonstrate compliance 5.303.6 | [5 empty] | M | -
| M5. | Insulate Hot Water Pipes: CEnC 120.3 | [5 empty] | M | -
| 6. | Develop Landscape Irrigation Budget: Reduce Water Use 50% beneath Mandatory Limit | [5 empty] | 1
| 7. | Water Use Reduction: Reduce Water Use 30% beneath mandatory limit using voluntary measures | [5 empty] | 2
| 8. | Wastewater Reduction: Reduce Max Flow rate of all plumbing fixtures by 30% below requirements 5.303.3 | [5 empty] | 1
| 9. | Water Efficient Landscaping: No Potable Water Use for Irrigation | [5 empty] | 1
| 10. | Innovative Wastewater Technologies: Exceed Mandatory Minimums | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 6 | 0
C. | Energy and Atmosphere | [6 empty] | . | .
| M1. | Minimum Energy Performance (Title 24): Testing and Adjusting | [5 empty] | M | -
| M2. | Building Systems Testing & Adjusting: HVAC Balance, Water, Water Heating, Lighting, Reports 5.410.4 / 303.1 | [5 empty] | M | -
| M3. | Food Waste Disposers: ≤ 1GPM in standby mode OR 10min shutoff & ≤ 8 GPM in use (Commercial Kitchens) 5.303.4.1 | [5 empty] | M | -
| 4. | Optimize Energy Performance: 1 to 10 Points Based on Energy Simulation Calculations | [5 empty] | 10
| 5a. | On-Site Renewable Energy: Supply 1% | [5 empty] | 1
| 5b. | On-Site Renewable Energy: Supply 3% | [5 empty] | 1
| 5c. | On-Site Renewable Energy: Supply 5% | [5 empty] | 1
| 5d. | On-Site Renewable Energy: Supply 7% | [5 empty] | 1
| 5e. | On-Site Renewable Energy: Supply 9% | [5 empty] | 1
| 5f. | On-Site Renewable Energy: Supply 11% | [5 empty] | 1
| 5g. | On-Site Renewable Energy: Supply 13% | [5 empty] | 1
| 6. | Enhanced Commissioning | [5 empty] | 1
| 7. | Enhanced Refrigerant Management | [5 empty] | 1
« | 8. | Measurement and Verification | [5 empty] | 1
| 9. | Green Power: Contract at least 35% of Electric Energy for 2 year minimum duration | [5 empty] | 1
| 10. | Locate Prominent Stairway in Lobby | [5 empty] | 2
| 11. | Solar Zone: Indicate 80 SF Solar Zone if addition ≤ 10,000 SF or 160 SF Solar Zone if > 10,000 SF CEnC 110.10 | [5 empty] | 1
« | 12. | Pre-Plumb for Thermal Solar Installation: Indicate Roof Solar Thermal Zone and HTF Path to Mechanical Room | [5 empty] | 1
« | 13. | Design, Construct and Convert Building to Grid Neutral/Net Zero | [5 empty] | 10
[6 empty] | Category Point Subtotal |  | 35 | 0
D. | Materials and Resources | [6 empty] | . | .
« | M1. | Weather Protection: Specify Weather Resistant Exterior Wall & Foundation per CBC1403.2 | [5 empty] | M | -
« | M2a. | Moisture Control: Demonstrate sprinkler spray zone(s) exclude any structure(s) CALGreen 5.407.2.1 | [5 empty] | M | -
« | M2b. | Moisture Control: Entries/Openings protected w/ 2 ft margin & 4 ft Awning/Overhang/Recess OR equiv 5.407.2.2.1 | [5 empty] | M | -
« | M2c. | Moisture Control: Flashing integrated with a drainage plan 5.407.2.2.2 | [5 empty] | M | -
| M3. | Construction Waste Management Plan: Complete City of Santa Cruz's CWMP to comply with 5.408.1.1 | [5 empty] | M | -
| M4. | Construction Waste Management: Divert 65% to comply with 5.408.1 | [5 empty] | M | -
| M5. | Storage & Collection of Recyclables: Demonstrate compliance with 5.410.1 | [5 empty] | M | -
| M6. | UNIVERSAL WASTE: Demonstrate Documentation & Disposal per 5.408.2 (ref 202 Universal Waste definition) | [5 empty] | M | -
| M7. | Excavated Soil and Land Clearing Debris: 100% reused or recycled 5.408.3 | [5 empty] | M | -
| M8. | Operations & Maintenance (O & M) Manual: 5.410.4.5 | [5 empty] | M | -
| 9. | Construction Waste Management: Divert 75% or Above | [5 empty] | 1
| 10a. | Building Reuse: Maintain 55% Existing Walls, Floors, Roof | [5 empty] | 1
| 10b. | Building Reuse: Maintain 75% Existing Walls, Floors, Roof | [5 empty] | 1
| 10c. | Building Reuse: Maintain 95% Existing Walls, Floors, Roof | [5 empty] | 1
| 10d. | Building Reuse: Maintain 50% Interior, Non-Structural Elements | [5 empty] | 1
| 11a. | Materials Reuse: Specify 5%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 11b. | Materials Reuse: Specify 10%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 12a. | Recycled Content: Specify 10%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 12b. | Recycled Content: Specify 20%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 13a. | Regional Materials: 10%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 13b. | Regional Materials: 20%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 14. | Rapidly Renewable Materials: Use a minimum of 2.5% rapidly renewable materials by cost | [5 empty] | 1
| 15. | Certified Wood: Specify minimum 30% FSC timber in plans | [5 empty] | 1
« | 16. | Advanced Wood Framing Techniques: Reduce timber use, either 19.2 " OC or 24" OC | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 14 | 0
E. | Indoor Environmental Quality | [6 empty] | . | .
| M1. | Carbon Dioxide (CO2) Monitoring: Demonstrate compliance with CEnC 120(c)(4) per CALGreen 5.506.2 | [5 empty] | M | -
| M2. | Outdoor Air Delivery Monitoring: Demonstrate compliance with CEnC 120.1 | [5 empty] | M | -
| M3. | Indoor Moisture Control: Demonstrate Compliance with CBC 1203 & CBC Ch 14 per CALGreen 5.505.1 | [5 empty] | M | -
| M4. | Cover Duct Openings During Construction & MERV 8 Filters: Demonstrate Compliance w/ 5.504.1 & 5.504.3 | [5 empty] | M | -
| M5. | Resilient Flooring Systems (80% of total floors): Demonstrate compliance with 5.504.4.6 | [5 empty] | M | -
| M6. | Temporary Space Conditioning: For materials/equipment, install MERV8 filtration & dispose at completion 5.504.1 | [5 empty] | M | -
| M8a. | Low VOC-Emitting Materials: Adhesives & Sealants 5.504.4.1 | [5 empty] | M | -
| M8b. | Low VOC-Emitting Materials: Paints & Coatings 5.504.4.3 | [5 empty] | M | -
| M8c. | Low VOC-Emitting Materials: Carpet and Composite Wood Flooring Systems 5.504.4.4 & 5.504.4.5 | [5 empty] | M | -
| M8d. | Low VOC-Emitting Materials: Composite Wood & Agrifiber Products 5.504.4.5 | [5 empty] | M | -
| M9. | Environmental Tobacco Smoke Control: Provide 25' separation to entries, air intakes & operable windows 5.504.7 | [5 empty] | M | -
| M10. | Ozone Depletion: HVAC, Refrigeration & Fire Suppression are CFC & Halon free 5.508.1 | [5 empty] | M | -
| M11. | Supermarket Refrigerant Leak Reduction: Where Applicable for Structures ≥ 8,000 SF if refrigerant GWP ≥ 150 5.508.2 | [5 empty] | M | -
| M12. | Acoustical Control: Demonstrate Compliance with 5.507.4 | [5 empty] | M | -
| 13. | Construction IAQ Management Plan: Before Occupancy | [5 empty] | 1
| 14. | Thermal Comfort: Provide ≥ 50% occupant control A5.507.1.1.2 | [5 empty] | 1
| 15a. | Daylight & Views: If ≤ 5,000 SF satisfy CEnC 140.3(c) or if > 5,000 SF then exceed by 10% CEnC 140.3(c) | [5 empty] | 1
| 16. | Acoustical Control: Exceed Mandatory Minimums of CALGreen 5.507.4 by 8% in STC | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 4 | 0
F. | Innovation in Design | [6 empty] | . | .
| 1. | Green Building Accredited Professional | [5 empty] | 1
| 2. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 3. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 4. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 5. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 6. | Conduct Pre-Design/ Pre-Construction Green Building Conference | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 6 | 0
[7 empty] | Maximum Available Points = | 73 | 0 | = Total Achieved Points*
Summarize Selected Measures
Show All Measures