## Checklist
City of Santa Cruz
Non-Residential Green Building Checklist
NEW CONSTRUCTION PROJECTS
INSTRUCTIONS
The Checklist below lists all green building measures and determines the required points for your project. In addition, it allows you to select specific measures for your project and to calculate the total points for your selected measures. FOR LEGIBILITY, A COMPLETED CHECKLIST MUST BE INCORPORATED ON ITS OWN, SEPARATE PLAN SHEET PAGE
| 1. | Enter your project information and the project square footage in the fields indicated.
| 2. | Review the points required to achieve each Action Level* REVIEW GUIDELINES AT: http://www.cityofsantacruz.com/home/showdocument?id=35643
| 3. | Note the mandatory measures highlighted in yellow and located at the top of each measure category. These measures are required in all projects and do not have a point value.
| 4. | Select the measures for your project by entering point values in the "Achieved Points" column. Points entered should not exceed the indicated maximum points for each measure. Be sure to review your total points as you select your measures and note progress towards your planned Action Level ("Points Remaining").
| 5. | Once selected to meet the point requirements for your planned Action Level, enter the page(s) of your building plans on which the measures, both Mandatory and Voluntary, are called out/reflected in the column provided. Include corresponding notes, specifications, or instructions to facilitate the plan review and inspection process.
| 6. | When your checklist is complete, click on the "Summarize Selected Measures" button to show only those measures which you have selected. This will facilitate integrating your measures into an Index of Selected Measures on your building plans. To see all of the measures again, click the "Show All Measures" button. Note that you will need to enable Microsoft Excel macros (sets of automated steps triggered, in this case, by clicking a button) in order to utilize this functionality. This option is typically provided in a security warning below the Excel menu bar. If you choose not to enable the macro, you may still filter your measures using Excel's filtering options found in the Data menu.
Project Address
Assessor's Parcel # (APN)
Permit #
Project Description
Owner
Designer
Contractor
|  |  | Total Square Feet |  | NOTE: New Building Commisioning required if 10,000 square feet or over
| Action Level |  |  | Points Required | Points Remaining
|  |  | Permit Issuance | 7 | 7
|  |  | Prioritized Permit Processing | 33 | 33
|  |  | Green Building Award Certificate | 40 | 40
|  |  | Green Building Plaque for Exceptional Design | 48 | 48
[7 empty] | Maximum Available Points = | 86 | 0 | = Total Achieved Points
|  | Measures highlighted yellow are mandatory for all new construction. | [6 empty] | .
|  | Measures with a star («) are part of the Design Checklist for Planning Stage, to be considered as early as feasible in the design and planning process. See Guidelines for more information. All code references are 2019 CALGreen unless otherwise noted. Exceeding the minimum point requirements by 15-20% is recommended to allow for project modifications. | [5 empty] | Maximum Points | Achieved Points | Plan Pages (e.g., A-1, C-3) | Notes
A. | Sustainable Sites | [6 empty] | . | .
« | M1a. | Construction Activity Pollution Prevention: Prepare SWPP if TI disturbs ≥ 1 acre of land | [5 empty] | M | -
« | M1b. | Stormwater Management: Locate BMPs on site map per CALGreen 5.106.1.2 if TI disturbs < 1 acre of land | [5 empty] | M | -
« | M2. | Grading & Paving: Demonstrate Surface Water Control to Prevent Entry at Building Perimeter per 5.106.10 | [5 empty] | M | -
« | M3. | Light Pollution Reduction: Demonstrate Outdoor Lighting System Compliance per CALGreen 5.106.8 | [5 empty] | M | -
« | M4. | Bicycle Parking (5%): Required if ≥ 10 visitor parking spaces OR generates visitor traffic 5.106.4.1.1 | [5 empty] | M | -
« | M5. | Bicycle Storage (5%): Required if ≥ 10 tenant-occupants per CALGreen 5.106.4.1.2 | [5 empty] | M | -
« | M6. | Clean Air Vehicle Spaces (8%): Required if ≥ 10 vehicular parking spaces per CALGreen Table 5.106.5.2 | [5 empty] | M | -
« | M7. | EV Charging Spaces + 240V/40A raceway (6%): Required if ≥ 10 parking space(s) per CALGreen 5.106.5.3 | [5 empty] | M | -
« | M8. | Shade Trees: Comply with CALGreen 5.106.12 Shade Trees for Surface Parking and Landscape Areas | [5 empty] | M | -
« | 9. | Site Selection, Roof & Building Orientation: Maximize solar access | [5 empty] | 1
« | 10. | Development Density & Community Connectivity: Preference given to urban sites w/ pedestrian access | [5 empty] | 1
« | 11. | Brownfield Redevelopment: Site rehabilitation | [5 empty] | 1
« | 12a. | Alternative Transportation: Public Transportation Access- perform survey, analyze & reduce auto impacts | [5 empty] | 1
« | 12b. | Alternative Transportation: Add 1 complete EV Charging Station (voluntary) and satisfy CALGreen 5.106.5.3 | [5 empty] | 1
« | 13a. | Reduce Site Disturbance: Protect or Restore Habitat | [5 empty] | 1
« | 13b. | Reduce Site Disturbance: Maximize Open Space | [5 empty] | 1
« | 13c. | Reduce Site Disturbance: Exceed City Ordinance by 25% | [5 empty] | 1
« | 14. | Stormwater Management: Incorporate One LID: Sidewalk Swale; Rooftop Garden; Roof Leader Disconnect | [5 empty] | 1
« | 15a. | Heat Island Effect: Non-Roof: Replace constructed surfaces with vegetation or other high-albedo surface | [5 empty] | 1
« | 15b. | Heat Island Effect: Roof Exceeds CEnC 110.8(i) & CEnC 140.3(a)1A requirements by 10% | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 11 | 0
B. | Water Efficiency | [6 empty] | . | .
| M1a. | Install Separate Meters: For each individual tenant space projected to consume >100 gal/day 5.303.1.1 | [5 empty] | M | -
| M1b. | Install Separate Meters: For each tenant within building projected to consume >1000 gal/day 5.303.1.2 | [5 empty] | M | -
| M2. | Meet City of Santa Cruz Water Efficient Landscaping Ordinance satisfying CALGreen 5.304.2(1) | [5 empty] | M | -
| M3. | Plumbing Fixtures & Fittings: Demonstrate compliance with 5.303.3 | [5 empty] | M | -
| M4. | Plumbing Fixtures installed in accordance with California Plumbing Code: 5.303.6 | [5 empty] | M | -
| 5. | Outdoor Potable Water Use: Exceed Mandatory Minimums | [5 empty] | 1
| 6. | Plumbing Fixtures & Fittings: Reduce Water Use 50% beneath Mandatory Limit 5.303.3 | [5 empty] | 1
| 7. | Develop Landscape Irrigation Budget: Reduce Water Use 50% beneath Mandatory Limit | [5 empty] | 1
| 8. | Water Efficient Landscaping: No Potable Water Use for Irrigation | [5 empty] | 1
| 9. | Innovative Wastewater Technologies: Exceed Mandatory Minimums | [5 empty] | 1
| 10. | Install Efficient Spray Rinse Assemblies: Spray Rinse uses ≤ 1.3GPM, specify in Plumbing Fixture Schedule CPC L402.7 | [5 empty] | 1
| 11. | Water Use Reduction: Reduce Water Use 30% beneath mandatory limit using voluntary measures | [5 empty] | 2
[6 empty] | Category Point Subtotal |  | 8 | 0
C. | Energy and Atmosphere | [6 empty] | . | .
| M1a. | Building Systems Commissioning: Required for New Structures ≥ 10,000 SF + OPR & BOD 5.410.2 | [5 empty] | M | -
| M1b. | Testing and Adjusting: For New Structures < 10,000 SF, demonstrate compliance with 5.410.4.2 | [5 empty] | M | -
| M2. | Minimum Energy Performance (Title 24) | [5 empty] | M | -
| M3. | Food Waste Disposers: ≤ 1GPM in standby mode OR 10min shutoff & ≤ 8 GPM in use (Commercial Kitchens) 5.303.4.1 | [5 empty] | M | -
| M4. | Insulate Hot Water Pipes: CEnC 120.3 | [5 empty] | M | -
« | M5. | Solar Zone: Indicate 80 SF Solar Zone if Structure ≤ 10,000 SF or 160 SF Solar Zone if Structure > 10,000 SF CEnC 110.10 | [5 empty] | M | -
| 6. | Optimize Energy Performance: 1 to 10 Points Based on Energy Simulation Calculations | [5 empty] | 10
| 7a. | On-Site Renewable Energy: Supply 1% | [5 empty] | 1
| 7b. | On-Site Renewable Energy: Supply 3% | [5 empty] | 1
| 7c. | On-Site Renewable Energy: Supply 5% | [5 empty] | 1
| 7d. | On-Site Renewable Energy: Supply 7% | [5 empty] | 1
| 7e. | On-Site Renewable Energy: Supply 9% | [5 empty] | 1
| 7f. | On-Site Renewable Energy: Supply 11% | [5 empty] | 1
| 7g. | On-Site Renewable Energy: Supply 13% | [5 empty] | 1
« | 8. | Enhanced Commissioning | [5 empty] | 1
| 9. | Enhanced Refrigerant Management | [5 empty] | 2
| 11. | Measurement and Verification | [5 empty] | 1
| 10. | Green Power: Contract at least 35% of Electric Energy for 2 year minimum duration | [5 empty] | 1
« | 11. | Locate Prominent Stairway in Lobby | [5 empty] | 2
« | 12. | Pre-wire for Photovoltaic Installation: Exceed 80 SF or 160 SF Roof Solar Zone + add Electrical Raceway Path | [5 empty] | 1
« | 13. | Pre-plumb for Thermal Solar Installation: Indicate Roof Solar Thermal Zone & HTF Path to Mechanical Room | [5 empty] | 1
« | 14. | Design and Construct Grid Neutral/Net Zero Building | [5 empty] | 10
[6 empty] | Category Point Subtotal |  | 36 | 0
D. | Materials and Resources | [6 empty] | . | .
« | M1. | Weather Protection: Specify Weather Resistant Exterior Wall & Foundation per CBC1403.2 | [5 empty] | M | -
« | M2a. | Moisture Control: Demonstrate sprinkler spray zone(s) exclude any structure(s) 5.407.2.1 | [5 empty] | M | -
« | M2b. | Moisture Control: Entries/Openings protected w/ 2 ft margin & 4 ft Awning/Overhang/Recess OR equiv 5.407.2.2.1 | [5 empty] | M | -
« | M2c. | Moisture Control: Flashing integrated with a drainage plan 5.407.2.2.2 | [5 empty] | M | -
| M3. | Storage & Collection of Recyclables: Demonstrate compliance with 5.410 | [5 empty] | M | -
| M4. | Construction Waste Management Plan: Complete City of Santa Cruz's CWMP to comply with 5.408.1.1 | [5 empty] | M | -
| M5. | Construction Waste Management: Divert 65% to comply with 5.408.1 | [5 empty] | M | -
| M6. | Excavated Soil and Land Clearing Debris: 100% reused or recycled 5.408.3 | [5 empty] | M | -
| M7. | Functional Performance Testing: Test Reporting Results for each Building System & Interface 5.410.2.4 if ≥ 10K SF | [5 empty] | M | -
| M8. | Building Systems Manual and Building Systems Training: Satisfy 5.410.2.5 if ≥ 10K SF or only 5.410.4.5 if < 10K SF | [5 empty] | M | -
| 9. | Construction Waste Management: Divert 75% or Above | [5 empty] | 1
| 10a. | Building Reuse: Maintain 75% Existing Walls, Floors, Roof | [5 empty] | 1
| 10b. | Building Reuse: Maintain 100% Existing Walls, Floors, Roof | [5 empty] | 1
| 10c. | Building Reuse: Maintain 100% Existing Walls, Floors, Roof and 50% of Non-Structural Elements | [5 empty] | 1
| 11a. | Materials Reuse: Specify 5%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 11b. | Materials Reuse: Specify 10%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 12a. | Recycled Content: Specify 10%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 12b. | Recycled Content: Specify 20%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 13a. | Regional Materials: 10%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 13b. | Regional Materials: 20%, follow online guidelines for eligibility & documentation | [5 empty] | 1
| 14. | Rapidly Renewable Materials: Use a minimum of 2.5% rapidly renewable materials by cost | [5 empty] | 1
| 15. | Certified Wood: Specify minimum 30% FSC timber in plans | [5 empty] | 1
« | 16. | Advanced Wood Framing Techniques: Reduce timber use, either 19.2 " OC or 24" OC framing | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 13 | 0
E. | Indoor Environmental Quality | [6 empty] | . | .
| M1. | Indoor Moisture Control: Demonstrate Compliance with CBC 1203 & CBC Ch 14 per CALGreen 5.505.1 | [5 empty] | M | -
| M2. | Cover Duct Openings During Construction & MERV 8 Filters: Demonstrate Compliance w/ 5.504.1 & 5.504.3 | [5 empty] | M | -
| M3. | Resilient Flooring Systems (80% of total floors): Demonstrate compliance with 5.504.4.6 | [5 empty] | M | -
| M4. | Filters for Mechanically Ventilated Buildings: Minimum MERV 8, Demonstrate Compliance with 5.504.5.3 | [5 empty] | M | -
| M5. | Carbon Dioxide (CO2) Monitoring: Demonstrate compliance with CEnC 120(c)(4) per CALGreen 5.506.2 | [5 empty] | M | -
| M6. | Outdoor Air Delivery Monitoring: Demonstrate compliance with CEnC 120.1 | [5 empty] | M | -
| M7a. | Low VOC-Emitting Materials: Adhesives & Sealants 5.504.4.1 | [5 empty] | M | -
| M7b. | Low VOC-Emitting Materials: Paints & Coatings 5.504.4.3 | [5 empty] | M | -
| M7c. | Low VOC-Emitting Materials: Carpet and Composite Wood Flooring Systems 5.504.4.4 & 5.504.4.5 | [5 empty] | M | -
| M7d. | Low VOC-Emitting Materials: Composite Wood & Agrifiber Products 5.504.4.5 | [5 empty] | M | -
| M8. | Environmental Tobacco Smoke Control: Provide 25' separation to entries, air intakes & operable windows 5.504.7 | [5 empty] | M | -
| M9. | Ozone Depletion: HVAC, Refrigeration & Fire Suppression are CFC & Halon free 5.508.1 | [5 empty] | M | -
| M10. | Supermarket Refrigerant Leak Reduction: Where Applicable for Structures ≥ 8,000 SF if refrigerant GWP ≥ 150 5.508.2 | [5 empty] | M | -
| M11. | Acoustical Control: Demonstrate Compliance with 5.507.4 | [5 empty] | M | -
| 12. | Minimum IAQ Performance: Meet the minimum requirements of Section 4-7 of the ASHRAE 62.1 | [5 empty] | 1
| 13. | Increased Ventilation: Exceed Minimum Requirements | [5 empty] | 1
| 14. | Resilient Flooring Systems: Exceed Mandatory Minimums | [5 empty] | 1
| 15a. | Construction IAQ Management Plan: During Construction | [5 empty] | 1
| 15b. | Construction IAQ Management Plan: Before Occupancy | [5 empty] | 1
| 16. | Indoor Chemical & Pollutant Source Control | [5 empty] | 1
| 17a. | Controllability of Systems Design: Provide Task or Natural Lighting for ≥ 90% of occupants A.507.1.1.1 | [5 empty] | 1
| 17b. | Controllability of Systems Design: Provide Thermal Control for ≥ 50% of occupants A.507.1.1.2 | [5 empty] | 1
| 18. | Lighting Control Verification: Field Verify Task or Natural Lighting for ≥ 90% of occupants A.507.1.1.1 | [5 empty] | 1
| 19. | Thermal Comfort Verification : Field Verify Thermal Control for ≥ 50% of occupants A.507.1.1.2 | [5 empty] | 1
| 20. | Daylight & Views: If ≤ 5,000 SF satisfy CEnC 140.3(c) or if > 5,000 SF then exceed by 10% CEnC 140.3(c) | [5 empty] | 1
| 21. | Acoustical Control: Exceed Mandatory Minimums of CALGreen 5.507.4 by 10% in STC | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 12 | 0
F. | Innovation in Design | [6 empty] | . | .
| 1. | Green Building Accredited Professional | [5 empty] | 1
| 2. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 3. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 4. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 5. | Innovation in Design (Requires Submittal of Verification Form) | [5 empty] | 1
| 6. | Conduct Preconstruction Green Building Conference | [5 empty] | 1
[6 empty] | Category Point Subtotal |  | 6 | 0
[7 empty] | Maximum Available Points = | 86 | 0 | = Total Achieved Points*
Summarize Selected Measures
Show All Measures